## Design Traceability Matrix
COMPANY LOGO | DESIGN AND DEVELOPMENT TRACKER |  |  | SOP-XXX-XX
| Effective Date: DD-MMM-YYYY |  |  | Version: XX
DESIGN INPUTS |  |  |  | DESIGN OUTPUTS |  |  | DESIGN VERIFICATION |  |  | DESIGN VALIDATION
CR Number | Customer Requirement | PR Number | Product Requirement Specification (PRS) | Specific Requirements/Characteristic | Essential Design Output? (Yes/No) | Document Reference | Verification Method | Verification Acceptance Criteria | Verification Results (Pass/Fail) | Validation Method | Validation Acceptance Criteria | Validation Results (Pass/Fail)
CR1 | The device shall be safe for tis intended use. | PR1 | The device shall be made from materials that contain no aniimal dervied components | Animal derived materials are not used as ingredients in the manufacture of the device's components. | Yes | BER-XXX-V1.0 CER-XXX-V1.0 | Assessment - Biological Evaluation | Bilogical Evaluation report concludes no animal derived compoenets. | Pass | Analysis & Clinical Evaluation | The Clinical Evaluation Report and any technical assessment must together deomonstrate that the product has an acceptable safety profile . | Pass
CR2 | The device shall eliminate or reduce as far as possible the risk of infection to patients and users. | PR2 | The device shall be sterile | Process to include an Ethylene oxide (EO) sterilisation step. Primary packaging is EO permeable. | Yes | Sterile | Sterility testing | SAL <= 10-6 | Pass | Analysis | To pass validation, the technical assessment must demonstrate that the product has an acceptable sterility profile and minimises the risk of infection during use. | Pass
APPROVALS
Function / Department | Name, Surname | Signature |  | Date